Weott CSD’s Operator’s Report

06-11-2026

Greg Teasley & Curren Black

Springs/Flow:

- We still have good flow on both A and B lines

Test Results:

- Water quality has been passing state standards.

Water Plant:

- It has been working efficiently.

Wastewater Plant:

- It is passing tests and there are no new malfunctions.

Lift station:

- Both pumps are working as they should

Repairs & Leaks

- We worked with the tank inspection guys on the 13th and 14th of May, they were surprised there was no access ladder to the inside of the tank. But luckily, I had a long ladder that they used. They said everything looked good inside the Tank.

- I noticed the water level indicator on the new tank was not registering properly so I took the inspection plate off and found that the cable had somehow come off of the shiv. And after placing it back in the groove it's working fine.

- I collected and delivered the well samples to Microbac lab in Arcata.