Weott CSD’s Operator’s Report

6-18-2025

Greg Teasley

Springs/Flow:  As of today we still have good flow on both A and B lines.

Test Results:

Water quality has been passing state standards.

Water Plant:

It has been working efficiently.  Some of the plywood around the outside of the building is pretty rotten and should be replaced.

Wastewater Plant:

It is functioning properly and passing state tests. We do need to get a pumper truck over there to take out a few loads of solids when feasible.

Lift station:

I met with Bob Downing and his crew Friday, June 13th. They pulled new wire to replace the one that was messed up, and I reconnected the wires to the pump and dropped it back down in the well, it seems to be working fine.

Repairs & Leaks

I repaired the leak on Parish lane and replaced the register on the cal fire meter.

I also installed a new meter on Madrone drive.