Weott CSD’s Operator’s Report

8-4-2025

Greg Teasley

Springs/Flow:

As of today we still have good flow on both A and B lines.

Test Results:

Water quality has been passing state standards.

Water Plant:

It has been working efficiently.

Wastewater Plant:

It is passing tests and there are no new problems.

Lift station:

Both pumps are working as they should be.

Repairs & Leaks

I repaired the handrail at the community center and also installed the new two inch meter at the trailer park. I am planning on installing the one at the school in the next week or so. We may have to rent a small excavator to dig out the meter box and make the hole bigger for access to the meter.