Weott CSD’s Operator’s Report

7-16-2025

Greg Teasley

Springs/Flow:

As of today we still have good flow on both A and B lines.

Test Results:

Water quality has been passing state standards.

Water Plant:

It has been working efficiently.  Some of the plywood around the outside of the building is pretty rotten and should be replaced.  There is also a one inch valve outside of the water plant that has a crack in it.  I will have to turn the water flow through the plant on the A side off in order to fix it.

Wastewater Plant:

It is functioning properly and passing state tests.  Steve's septic service removed two loads from the solids tank for us which dropped the level of the tank down considerably.

Lift station:

The crane hoist that is used at the lift station to lift and lower the pumps was stolen about a week ago.

Repairs & Leaks

I have 1 meter on Weott heights to replace and we're waiting on the meters for the school and trailer park to come in.